## Slide 1
HAPPIEST HEALTH SUMMIT 2026 / DIGITAL TWIN FOR TYPE 2 DIABETES
GlucoTwin
A two-hour warning, and a what-if sandbox, for type 2 diabetes.
six seven · [COLLEGE] · [INCUBATOR]
1

## Slide 2
India does not have a diabetes problem.
It has a daily one.
•
101 million people with diabetes in India. 136 million with prediabetes. [CITE]
•
Most of them see a doctor two or three times a year.
•
The disease acts every day, between those visits.
ICMR-INDIAB, 2023. Citation to be completed before submission.
2

## Slide 3
The dangerous hours are the ones nobody sees.
•
Glucose above 180 mg/dL for 30 minutes does damage quietly.
•
The worst window is usually after the evening meal.
•
A 09:00 fasting reading cannot show it.
•
The next HbA1c test arrives three months later.
3

## Slide 4
So we rebuilt the patient as a twin.
•
Static record: labs, medications, genotype, history.
•
Dynamic stream: 14 days of CGM, heart rate, HRV, steps, sleep.
•
Output: two-hour event risk, with a calibrated probability.
•
Output: a what-if sandbox that runs on this patient's physiology.
4

## Slide 5
1,500 synthetic patients. 14 days each.
6.05 M
glucose readings
5 min
sampling interval
55
model features
1 CPU
to train and run
Seed 42. The whole cohort is regenerated by one command.
5

## Slide 6
Synthetic is a design choice, not a shortcut.
•
No real patient data, so no consent or re-identification risk.
•
The record drives the physiology, so the two streams are genuinely linked.
•
Fasting glucose sets the baseline. BMI, duration and genotype set sensitivity.
•
The cost: results do not transfer to real patients without validation.
6

## Slide 7
One pipeline, from a synthetic record to a clinical screen.
Data generation, features, models, twin, what-if, API, dashboard. External validation is optional and off to the side.
7

## Slide 8
The label is a real clinical event.
1 if glucose stays above 180 mg/dL for 30 minutes
inside the next 2 hours
•
41.1% of test windows are positive.
•
The cohort is deliberately uncontrolled, so events are not rare.
•
Split by patient: 900 train, 300 validation, 300 test.
8

## Slide 9
55 features. Four blocks. One fused vector.
•
19 CGM: level, means, variability, slopes, time above range, gaps.
•
13 wearable: heart rate, HRV, steps, sleep and deep sleep.
•
3 clock: time of day and night flag.
•
20 record: age, BMI, waist, HbA1c, eGFR, lipids, medications, TCF7L2.
Plus a 6-hour, 5-channel tensor for the neural branch.
9

## Slide 10
Five models. The tree won.
Model
Input
AUROC
Sensitivity at 0.5 FA/day
Persistence
current glucose
0.797
6%
LightGBM, CGM only
15 CGM features
0.984
70%
LightGBM, EHR only
20 record fields
0.791
5%
LightGBM, fused
all 55 features
0.994
78%
Fusion net
6 h x 5 channels + record
0.950
24%
Test patients only. Calibrated probabilities. Threshold fixed on validation.
10

## Slide 11
The network was supposed to win.
It did not.
•
Two-branch TCN + MLP, written in numpy, gradient-checked.
•
AUROC 0.9496, against 0.9941 for the tree model.
•
Two epochs on one CPU core is not enough to beat 250 boosted trees.
•
So the tree is deployed, and the network stays in the ablation.
This is the comparison the brief asked for, reported as it is.
11

## Slide 12
Results on 300 patients the model never saw.
0.994
AUROC
0.992
AUPRC
78%
sensitivity
53 min
mean warning
Brier 0.028. 0.45 false alarms per patient-day. Dense 15-minute run: 81% sensitivity, 60 min mean lead.
12

## Slide 13
Every input helps. The sensor helps most.
Same checkpoints for every model. EHR-only cannot rank moments inside one patient's day, so its within-patient AUROC is 0.5.
13

## Slide 14
A probability you can act on, not just a ranking.
Brier 0.028 after isotonic calibration. Forecast RMSE 11 / 14 / 23 mg/dL at 30 / 60 / 120 minutes.
14

## Slide 15
Why this alert, in words a clinician can use.
Recent time above range and the size of the current excursion dominate. The record explains who is at risk, not when.
15

## Slide 16
The twin fits the patient, not the population.
•
Insulin sensitivity and basal glucose are fitted from the CGM signal.
•
Held-out check: R2 0.82, median error 8.4%, Spearman 0.91.
•
Those numbers validate the fitting procedure, not the physiology.
•
The twin updates as new readings arrive, and keeps its own risk trace.
16

## Slide 17
A walk after dinner cuts the peak by 12 mg/dL.
Same patient, same evening. Risk falls from 38% to 16%. Swapping rice for millets cuts the peak by 28 mg/dL. Skipping the snack does almost nothing.
17

## Slide 18
Built for a clinic, not for a demo.
Cohort sorted by two-hour risk. Twin workspace with forecast band, gauge, time in range, wearables and the alert timeline.
18

## Slide 19
What we did not prove.
•
This is synthetic data. No clinical accuracy is claimed.
•
External validation is written but not run.
•
About 2.7 alerts per patient-day at the deployed threshold.
•
Subgroup fairness is not measured.
•
It is not a medical device, and it is not approved.
DPDP Act and HIPAA by design. Human in the loop. No automatic treatment change.
19

## Slide 20
What comes next.
•
A prospective 8 to 12 week study in one clinic, threshold frozen in advance.
•
ABDM and ABHA records, Apple Health and Google Fit, CGM vendor APIs.
•
Federated learning across clinics, so records never move.
•
A fairer cohort: CKD, SGLT2 and GLP-1, and well-controlled patients.
20

## Slide 21
Thank you.
GlucoTwin is a decision aid, not a doctor. The clinician decides.
six seven · [EMAIL] · Demo video: [LINK] · Code: [REPOSITORY]
21